## Register_Mapping
#VALUE! | Quench DIO Card Modbus Mapping List
| Charger Make | Charger Type | Power Output | Date | Customer
Quench
Default Serial Port Setting
Modbus Zero-Based Addressing | [6 empty] | Baud Rate | 9600
Modbus Read/Write Coils ( Function Code 1 for Read Coils & Function code 5/15 for Write Coils ) | [6 empty] | Data Bits | 8
S.No. | Register Address | Actual Modbus Address | Parameter | Type | Modbus Type | Remarks/Comments | Parity | None
1 | 1 | 0 | Relay 1 | Boolean | Coil |  | Stop Bits | 1
2 | 2 | 1 | Relay 2 | Boolean | Coil
3 | 3 | 2 | Relay 3 | Boolean | Coil
4 | 4 | 3 | Relay 4 | Boolean | Coil
5 | 5 | 4 | Relay 5 | Boolean | Coil
6 | 6 | 5 | Relay 6 | Boolean | Coil
7 | 7 | 6 | Relay 7 | Boolean | Coil
8 | 8 | 7 | Relay 8 | Boolean | Coil | Optional
Modbus Read Discrete Inputs ( Function Code 2 )
S.No. | Register Address | Actual Modbus Address | Parameter | Type | Modbus Type | Remarks/Comments
1 | 10001 | 10000 | Contactor Feedback 1 | Boolean | Discrete Input
2 | 10002 | 10001 | Contactor Feedback 2 | Boolean | Discrete Input
3 | 10003 | 10002 | Contactor Feedback 3 | Boolean | Discrete Input
4 | 10004 | 10003 | Contactor Feedback 4 | Boolean | Discrete Input
5 | 10005 | 10004 | Contactor Feedback 5 | Boolean | Discrete Input
6 | 10006 | 10005 | Contactor Feedback 6 | Boolean | Discrete Input
7 | 10007 | 10006 | Contactor Feedback 7 | Boolean | Discrete Input
8 | 10008 | 10007 | Contactor Feedback 8 | Boolean | Discrete Input
9 | 10009 | 10008 | Contactor Feedback 9 | Boolean | Discrete Input
10 | 10010 | 10008 | Contactor Feedback 10 | Boolean | Discrete Input
11 | 10011 | 10008 | Contactor Feedback 11 | Boolean | Discrete Input
12 | 10012 | 10008 | Contactor Feedback 12 | Boolean | Discrete Input

## Slave ID Selection
#VALUE! | Quench DIO Card Slave ID Selection
| Charger Make | Charger Type | Power Output | Date | Customer
Quench
Slave ID Selection Based on DIP Switch Position
S.No. | Switch 4 | Switch 3 | Switch 2 | Switch 1 | Slave ID | Remarks/Comments
1 | 0 | 0 | 0 | 1 | 1
2 | 0 | 0 | 1 | 0 | 2
3 | 0 | 0 | 1 | 1 | 3
4 | 0 | 1 | 0 | 0 | 4
5 | 0 | 1 | 0 | 1 | 5
6 | 0 | 1 | 1 | 0 | 6
7 | 0 | 1 | 1 | 1 | 7
8 | 1 | 0 | 0 | 0 | 8
9 | 1 | 0 | 0 | 1 | 9
10 | 1 | 0 | 1 | 0 | 10
11 | 1 | 0 | 1 | 1 | 11
12 | 1 | 1 | 0 | 0 | 12
13 | 1 | 1 | 0 | 1 | 13
14 | 1 | 1 | 1 | 0 | 14
15 | 1 | 1 | 1 | 1 | 15